## PDT_Damper
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | enum
Asset Status | String | enum
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
General Data
Shape
Casing Length (mm)
ATEX Code
Volume Flow Rate Max (l/s)
Differential Pressure Max (Pa)
Release Temperature (deg C)
Upstream Velocity (m/s)
Number of Blades
Material
Dimension & Weight Data
Weight(kg) | Decimal | builtin | decimal-with-units | kg | 17.2 kg
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Level Transmitter Data
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string
Asset Type | String | enum
Asset Status | String | enum
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Electrical Data
Supply Voltage
Supply Voltage Units
Performance Data
Output Signal Type | String | enum
Output Type | String | enum
Pipe Diameter (mm) | Int | regex | integer-with-units | mm
Pulse Cutoff
Pulse Factor
Pulse Max
Range Max | Decimal | builtin | decimal
Range Min | Decimal | builtin | decimal
Range Unit | String | lookup | LSTN_RANGE_UNITS
Relay 1 Function
Relay 1 off Level (m)
Relay 1 on Level (m)
Relay 2 Function
Relay 2 off Level (m)
Relay 2 on Level (m)
Relay 3 Function
Relay 3 off Level (m)
Relay 3 on Level (m)
Relay 4 Function
Relay 4 off Level (m)
Relay 4 on Level (m)
Relay 5 Function
Relay 5 off Level (m)
Relay 5 on Level (m)
Relay 6 Function
Relay 6 off Level (m)
Relay 6 on Level (m)
Set to Snort | String | enum
Signal Guidance
IP Rating | String | builtin | ip-rating |  | IP68
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Field Validation Compatible
Sensor Calibration Factor 1
Sensor Calibration Factor 2
Sensor Calibration Factor 3
Sensor Calibration Factor 4
Specific Order Code | String | builtin | any
Transducer Model | String | builtin | any |  | XPS-15
Transducer Serial No | String | builtin | any |  | PBD/M8040353
Transmitter Model | String | builtin | any |  | SITRANS LUT 420
Transmitter Serial No | String | builtin | any |  | YSN/N1298219654
Float Guidance

## PDT_MotorControlCentre
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | enum
Asset Status | String | enum
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Dimension & Weight Data
Weight(kg) | Decimal | builtin | decimal-with-units | kg | 17.2 kg
Electrical Data
IP Rating | String | buitin | ip-rating |  | IP68
Fault Rating (kA) | Decimal | builtin | decimal-with-units | kA | 17.2 kA
Number of Phase | Int | builtin | integer
Number of Ways | Int | builtin | integer
Rated Current (A) | Decimal | builtin | decimal-with-units | A | 17.2 A
Rated Voltage | Decimal | builtin | decimal
Rated Voltage Units | String | builtin | voltage-units
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Single Line Drawing Ref Number | String | builtin | any

## PDT_Valves
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | enum
Asset Status | String | enum
Uniclass Code
Uniclass Title
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer Website
Product Range
Product Model Number
CE Approval
Approvals
Product Literature
Features
Construction Data
Stem Type
Direction of closure
Plate Material
Stem Material
Stem Nut Material
Bolt Material
Top packing gland Material
Packing Material
Body Material
Gate Material
Gate seal Material
Washer Material
Stem bearing Material
Operating element
Packing gland scraper
Coating
Dimension Data
Overall Length
Overall Width
Overall Height
Gross Weight | Decimal | builtin | decimal-with-units | kg
Shipping Weight
Access Clearance Top
Access Clearance Bottom
Access Clearance Left
Access Clearance Right
Access Clearance Front
Access Clearance Rear
Flange Connection size
Flange connection type
Face to face dimension
Face to face standard
Performance Data
Pressure rating
Upper Limit Torque at max PN
Normal Operating Torque
Number of turns fully open to fully closed
Test Pressure
Upper Limit Operating Pressure
Upper Limit Temperature
Lower Limit Temperature
PED Category
Sustainability
Embodied Carbon
Life Cycle Analysis
Location of Manufacturer
Green Guide for Specification
Environmental Product Declaration
Responsible Sourcing of Materials
Energy Technology List
Responsible Extraction of Materials
Material Ingredient Reporting
Operations & Maintenance
O&M Manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke Timeframe
Maintenance Required 0-300hrs
Maintenance Required 301-600hrs
Maintenance Required 601-1000hrs
Maintenance Required 1001-2000hrs
Maintenance Required 2001-4000hrs
Maintenance Required 4001-8000hrs
Maintenance Required 8001-12000hrs
Expected Life
Warranty ID
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Set Range Max
Set Range Min
Set Range Unit
Bore Diameter (mm) | Int | builtin | integer-with-units | mm
Coil Voltage
Coil Voltage Units
Rated Current (A)
Rated Power (W)
STC25 Ref
Telemetered
Valve Timing (s)
Port Size Connection (mm)
Normal Operating Position
Process Medium | String | lookup | VALV_MEDIA_TYPE
Trace Heating
Cost
pH

## PDT_Pressure Transmitter
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | enum
Asset Status | String | enum
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Control and Instrumentation Data
Range Max | Decimal | builtin | decimal
Range Min | Decimal | builtin | decimal
Range Unit | String | enum | PSTN_RANGE_UNITS
Output Signal Type | String | enum
Dimension & Weight Data
Weight(kg) | Decimal | builtin | decimal-with-units | kg | 17.2 kg
Electrical Data
IP Rating | String | builtin | ip-rating |  | IP68
Supply Voltage | Decimal | builtin | decimal
Supply Voltage Units | String | builtin | voltage-units
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Flow Transmitter Data
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | enum
Asset Status | String | enum
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Performance Data (Continous Operation)
Output Signal Type
Output Type
Pipe Diameter (mm) | Int | builtin | integer-with-units | mm | 80mm
Pulse Cutoff
Pulse Factor
Pulse Max
Range Max | Decimal | builtin | decimal
Range Min | Decimal | builtin | decimal
Range Unit | String | enum
Rated Voltage | Decimal | builtin | decimal
Rated Voltage Units | String | builtin | voltage-units
IP Rating | String | builtin | ip-rating |  | IP68
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Field Validation Compatible
Sensor Calibration Factor 1
Sensor Calibration Factor 2
Sensor Calibration Factor 3
Sensor Calibration Factor 4
Specific Order Code
Transducer Model | String | builtin | any
Transducer Serial No | String | builtin | any
Transmitter Model | String | builtin | any
Transmitter Serial No | String | builtin | any