## PDT_Tank Data
pdt_field_name | pdt_enum_value | s4_enum_value
Column Material | BRICK | BRICK
Column Material | CAST IRON | CAST IRON
Column Material | CONCRETE | CONCRETE
Column Material | MASS CONCRETE | MASS CONCRETE
Column Material | MILD STEEL | MILD STEEL
Column Material | PRECAST CONCRETE | PRECAST CONCRETE
Column Material | REINFORCED CONCRETE | REINFORCED CONCRETE
Column Material | STAINLESS STEEL | STAINLESS STEEL
Column Material | UPVC | UPVC
Floor Material | BRICK | BRICK
Floor Material | CONCRETE | CONCRETE
Floor Material | FLAGSTONE | FLAGSTONE
Floor Material | GLASS REINFORCED PLASTIC | GLASS REINFORCED PLASTIC
Floor Material | GLASS REINFORCED PLASTIC/FIBRE | GLASS REINFORCED PLASTIC/FIBRE
Floor Material | MASS CONCRETE | MASS CONCRETE
Floor Material | MILD STEEL | MILD STEEL
Floor Material | REINFORCED CONCRETE | REINFORCED CONCRETE
Floor Material | STAINLESS STEEL | STAINLESS STEEL
Reservoir Covering | ADHERED SHEET MEMBRANE | ADHERED SHEET MEMBRANE
Reservoir Covering | ADHERED SHEET MEMBRANE GRASS | ADHERED SHEET MEMBRANE GRASS
Reservoir Covering | ADHERED SHEET MEMBRANE GRAVEL | ADHERED SHEET MEMBRANE GRAVEL
Reservoir Covering | ASPHALT | ASPHALT
Reservoir Covering | FLAGSTONE | FLAGSTONE
Reservoir Covering | GRASS | GRASS
Reservoir Covering | GRASS AND GRAVEL | GRASS AND GRAVEL
Reservoir Covering | GRAVEL | GRAVEL
Reservoir Covering | LIQUID MEMBRANE | LIQUID MEMBRANE
Reservoir Covering | LIQUID MEMBRANE GRASS | LIQUID MEMBRANE GRASS
Reservoir Covering | LIQUID MEMBRANE GRAVEL | LIQUID MEMBRANE GRAVEL
Reservoir Covering | LOOSE LAID MEMBRANE GRASS | LOOSE LAID MEMBRANE GRASS
Reservoir Covering | LOOSE LAID MEMBRANE GRAVEL | LOOSE LAID MEMBRANE GRAVEL
Reservoir Covering | OVERBANDED JOINTS | OVERBANDED JOINTS
Reservoir Covering | STEEL SHEET | STEEL SHEET
Reservoir Covering | WITHIN A BUILDING/HOUSING | WITHIN A BUILDING/HOUSING
Roof Material | BRICK | BRICK
Roof Material | CONCRETE | CONCRETE
Roof Material | GLASS COATED STEEL | GLASS COATED STEEL
Roof Material | GLASS REINFORCED PLASTIC | GLASS REINFORCED PLASTIC
Roof Material | GLASS REINFORCED PLASTIC/FIBRE | GLASS REINFORCED PLASTIC/FIBRE
Roof Material | MASS AND REINFORCED CONCRETE | MASS AND REINFORCED CONCRETE
Roof Material | MASS CONCRETE | MASS CONCRETE
Roof Material | MILD STEEL | MILD STEEL
Roof Material | PRECAST CONCRETE | PRECAST CONCRETE
Roof Material | PRECAST CONCRETE AND STEEL | PRECAST CONCRETE AND STEEL
Roof Material | REINFORCED CONCRETE | REINFORCED CONCRETE
Roof Material | SLATE | SLATE
Roof Material | STAINLESS STEEL | STAINLESS STEEL
Roof Material | STEEL PAINTED/BITUMEN | STEEL PAINTED/BITUMEN
Tank Construction | 304 STAINLESS STEEL | 304 STAINLESS STEEL
Tank Construction | 316L STAINLESS STEEL | 316L STAINLESS STEEL
Tank Construction | BLACK POLYPROPYLENE | BLACK POLYPROPYLENE
Tank Construction | BRICK | BRICK
Tank Construction | BRICK AND CONCRETE | BRICK AND CONCRETE
Tank Construction | BUNDED PLASTIC | BUNDED PLASTIC
Tank Construction | CARBON STEEL | CARBON STEEL
Tank Construction | CLAY | CLAY
Tank Construction | CONCRETE | CONCRETE
Tank Construction | CRYSTIC RESIN 397PA GRP | CRYSTIC RESIN 397PA GRP
Tank Construction | DARK GREEN 14C39 GRP | DARK GREEN 14C39 GRP
Tank Construction | EARTH | EARTH
Tank Construction | E-FUSION EPOXY COATED MILD STL | E-FUSION EPOXY COATED MILD STL
Tank Construction | EPOXY COATED GALVANISED STEEL | EPOXY COATED GALVANISED STEEL
Tank Construction | EPOXY COATED MILD STEEL | EPOXY COATED MILD STEEL
Tank Construction | EPOXY COATED STEEL | EPOXY COATED STEEL
Tank Construction | EPOXY POWDER COATED MILD STEEL | EPOXY POWDER COATED MILD STEEL
Tank Construction | FIBREGLASS | FIBREGLASS
Tank Construction | GLASS COATED STEEL | GLASS COATED STEEL
Tank Construction | GLASS FUSED STEEL | GLASS FUSED STEEL
Tank Construction | GLASS REINFORCED PLASTIC | GLASS REINFORCED PLASTIC
Tank Construction | HIGH DENSITY POLYETHYLENE | HIGH DENSITY POLYETHYLENE
Tank Construction | IRON | IRON
Tank Construction | ISOFUSION GLASS COATED | ISOFUSION GLASS COATED
Tank Construction | LINED EARTH | LINED EARTH
Tank Construction | PLASTIC | PLASTIC
Tank Construction | POLYPROPYLENE | POLYPROPYLENE
Tank Construction | PRECAST CONCRETE | PRECAST CONCRETE
Tank Construction | REINFORCED CONCRETE | REINFORCED CONCRETE
Tank Construction | STAINLESS STEEL | STAINLESS STEEL
Tank Construction | STEEL | STEEL
Tank Construction | THERMOPLASTIC | THERMOPLASTIC
Tank Covering | NO | NO
Tank Covering | YES | YES
Tank Level | ABOVE GROUND | ABOVE GROUND
Tank Level | BELOW GROUND | BELOW GROUND
Wall Material | BRICK | BRICK
Wall Material | BRICK AND REINFORCED CONCRETE | BRICK AND REINFORCED CONCRETE
Wall Material | BRICK AND RENDERING | BRICK AND RENDERING
Wall Material | CONCRETE | CONCRETE
Wall Material | GLASS COATED STEEL | GLASS COATED STEEL
Wall Material | GLASS REINFORCED PLASTIC | GLASS REINFORCED PLASTIC
Wall Material | GLASS REINFORCED PLASTIC/FIBRE | GLASS REINFORCED PLASTIC/FIBRE
Wall Material | MASS CONCRETE | MASS CONCRETE
Wall Material | MILD STEEL | MILD STEEL
Wall Material | PRECAST CONCRETE | PRECAST CONCRETE
Wall Material | REINFORCED CONCRETE | REINFORCED CONCRETE
Wall Material | STAINLESS STEEL | STAINLESS STEEL
Wall Material | STEEL PAINTED/BITUMEN | STEEL PAINTED/BITUMEN
Content Type | ALUMINIUM SULPHATE
Content Type | AMMONIUM SULPHATE
Content Type | ANTI-FOAM AGENT
Content Type | BRINE
Content Type | CAKE
Content Type | CALCIUM NITRATE
Content Type | CARBON
Content Type | CHLORINE DIOXIDE
Content Type | CLARIFIER SLUDGE
Content Type | COAGULANT STORAGE
Content Type | DEALKALISATION ACID
Content Type | DEALKALISED WATER
Content Type | DEWATERED SLUDGE
Content Type | DIESEL
Content Type | DIGESTED SLUDGE
Content Type | DIRTY WASHWATER SLUDGE
Content Type | EFFLUENT
Content Type | EMERGENCY
Content Type | EXPORT SLUDGE (FOR EXPORT)
Content Type | FERRIC CHLORIDE
Content Type | FERRIC SULPHATE
Content Type | FILTERED WATER
Content Type | FINAL EFFLUENT
Content Type | HYDROCHLORIC ACID
Content Type | IMPORTED SLUDGE-CAKE
Content Type | IMPORTED SLUDGE-LIQUID
Content Type | LIME
Content Type | LIQUOR
Content Type | MAGNESIUM HYDROXIDE
Content Type | MAINS WATER
Content Type | MAINS WATER
Content Type | MIXED SLUDGE
Content Type | MIXED SLUDGE-INDIGENOUS ( PRIMARY AND SECONDARY)
Content Type | MIXED SLUDGE-RAW INDIGENOUS AND IMPORT MIX
Content Type | MONOSODIUM ORTHOPHOSPHATE
Content Type | NUTRIENT(UREA-URIC ACID)
Content Type | PHOSPHORIC ACID
Content Type | PIPELINE SWABBING WATER
Content Type | POLYADMAC
Content Type | POLYELECTROLYTE
Content Type | POTABLE WATER
Content Type | POWDERED ACTIVATED CARBON
Content Type | PRIMARY FILTER WATER
Content Type | PRIMARY SLUDGE
Content Type | RUN TO WASTE WATER
Content Type | SCALE INHIBITOR
Content Type | SCREENED INFLUENT
Content Type | SCREENINGS
Content Type | SCUM
Content Type | SECONDARY FILTER WATER
Content Type | SECONDARY SLUDGE
Content Type | SECONDARY SLUDGE-HUMUS
Content Type | SECONDARY SLUDGE-MIXED
Content Type | SECONDARY SLUDGE-RAS
Content Type | SECONDARY SLUDGE-SAS
Content Type | SLUDGE
Content Type | SLUDGE-STORM OR EFFLUENT TREATMENT
Content Type | SODIUM BISULPHITE
Content Type | SODIUM CHLORIDE
Content Type | SODIUM HYDROXIDE
Content Type | SODIUM HYPOCHLORITE
Content Type | STORM WATER
Content Type | SULPHUR DIOXIDE
Content Type | SULPHURIC ACID
Content Type | SUPERNATENT
Content Type | THICKENED AND CLARIFIER SLUDGE
Content Type | THICKENED SLUDGE
Content Type | TREATED WATER
Content Type | WASHWATER SLUDGE
Tank Shape | Shape Circular Conical Bottom | SHCOBM
Tank Shape | Shape Circular Flat Bottom | SHCFBM
Tank Shape | Shape Elliptical Cyl (Horiz) | SHECYL
Tank Shape | Shape Horizontal Cylinder | SHHCYL
Tank Shape | Shape Miscellaneous Irregular | SHMIIR
Tank Shape | Shape Rect Pyramid Bottom | SHRPBM
Tank Shape | Shape Rect Sloping Bottom | SHRSBM
Tank Shape | Shape Rectangular Flat Bottom | SHRFBM
Tank Shape | Shape Semi-cylinder | SHSCYL

## PDT_Valves
pdt_field_name | pdt_enum_value | s4_enum_value
Process Medium | Air | AIR
Process Medium | Activated Sludge | SLUDGE
Process Medium | Sodium Hydroxide, 22.5% | SODIUM HYDROXIDE
Process Medium | Digested Sludge (3-5%) | SLUDGE
Process Medium | Final Effluent
Process Medium | Ferric Sulphate | FERRIC SULPHATE
Process Medium | Humus Sludge | SLUDGE
Process Medium | Industrial Effluent
Process Medium | Mixed Liquor (0.3-0.8%)
Process Medium | Primary Treated Effluent
Process Medium | Raw Sewage | SEWAGE
Process Medium | Raw Sludge | SLUDGE
Process Medium | Screened Raw Sewage | SEWAGE
Process Medium | Secondary Treated Effluent
Process Medium | Thickened Sludge (2-5%) | SLUDGE
Process Medium | Storm Flow
Process Medium | Limed Sludge Cake (up to 25%)

## PDT_Pressure Transmitter
pdt_field_name | pdt_enum_value | s4_enum_value
Supply Voltage Units | AC | VAC
Supply Voltage Units | DC | VDC
Range Unit | BAR | BAR
Range Unit | BARG | BARG
Range Unit | CM/S | CM/S
Range Unit | DEG C | DEG C
Range Unit | IN H2O | IN H2O
Range Unit | IN WG | IN WG
Range Unit | KPA | KPA
Range Unit | M | M
Range Unit | M H2O | M H2O
Range Unit | M WG | M WG
Range Unit | M3/H | M3/H
Range Unit | MBAR | MBAR
Range Unit | MM | MM
Range Unit | MM H2O | MM H2O
Range Unit | MM WG | MM WG
Range Unit | PA | PA
Range Unit | PCT | PCT
Range Unit | PSI | PSI
Output Signal Type | -1 - 10 | -1 - 10
Output Signal Type | -1 - 10 DIGITAL | -1 - 10 DIGITAL
Output Signal Type | 0 - 1 | 0 - 1
Output Signal Type | 0 - 1 DIGITAL | 0 - 1 DIGITAL
Output Signal Type | 0 - 10 | 0 - 10
Output Signal Type | 0 - 20 MA | 0 - 20 MA
Output Signal Type | 0 - 24 MA | 0 - 24 MV
Output Signal Type | 0 - 24000 MV | 0 - 24000 MV
Output Signal Type | 0 - 250 MV | 0 - 250 MV
Output Signal Type | 250 MA | 250 MA
Output Signal Type | 4 - 20 MA | 4 - 20 MA
Output Signal Type | 4 - 20 MA HART | 4 - 20 MA HART
Output Signal Type | 4 - 20 MV | 4 - 20 MV
Output Signal Type | 4 - 24 MA | 4 - 24 MA
Output Signal Type | 6 | 6
Output Signal Type | DIGITAL | DIGITAL
Output Signal Type | DIGITAL PROFIBUS PA | DIGITAL PROFIBUS PA
Output Signal Type | DISCRETE | DISCRETE
Output Signal Type | HART | HART
Output Signal Type | PROFIBUS PA | PROFIBUS PA

## PDT_Level Transmitter Data
pdt_field_name | pdt_enum_value | s4_enum_value
Supply Voltage Units | V | V
Supply Voltage Units | VAC | VAC
Supply Voltage Units | VAC/VDC | VAC/VDC
Supply Voltage Units | VDC | VDC
Output Signal Type | 0 - 1 | 0 - 1
Output Signal Type | 0 - 1 DIGITAL | 0 - 1 DIGITAL
Output Signal Type | 0 - 1 MA | 0 - 1 MA
Output Signal Type | 10 - 10.5 MA | 0 - 10.5 MA
Output Signal Type | 0 - 20 MA | 0 - 20 MA
Output Signal Type | 0 - 20 MV | 0 - 20 MV
Output Signal Type | 0 - 200 MA | 0 - 200 MA
Output Signal Type | 0 - 4 MA | 0 - 4 MA
Output Signal Type | 1 - 0 DIGITAL | 1 - 0 DIGITAL
Output Signal Type | 1 V/F | 1 V/F
Output Signal Type | 15 - 20 MA | 15 - 20 MA
Output Signal Type | 2 - 20 MA | 2 - 20 MA
Output Signal Type | 20 - 40 MA | 20 - 40 MA
Output Signal Type | 4 - 100 MA | 4 - 100 MA
Output Signal Type | 4 - 20 MA | 4 - 20 MA
Output Signal Type | 4 - 20 MV | 4 - 20 MV
Output Signal Type | 4 - 24 MA | 4 - 24 MA
Output Signal Type | 4 MA | 4 MA
Output Signal Type | 44.2 MA | 44.2 MA
Output Signal Type | 5 - 200 MA | 5 - 200 MA
Output Signal Type | PROFIBUS | PROFIBUS
Output Signal Type | PROFIBUS DP | PROFIBUS DP
Output Signal Type | PROFIBUS PA | PROFIBUS PA
Output Type | ANALOGUE | ANALOGUE
Output Type | DIGITAL | DIGITAL
Range Unit | % | PCT
Range Unit | °C | DEG C
Range Unit | bar | BAR
Range Unit | barg | BARG
Range Unit | cm | CM
Range Unit | cm/s | CM/S
Range Unit | ft | FT
Range Unit | g/cm2 | G/CM2
Range Unit | g/cm3 | G/CM3
Range Unit | Kohm | KOHM
Range Unit | l/h | L/H
Range Unit | l/s | L/S
Range Unit | m | M
Range Unit | m H2O | M H2O
Range Unit | m WG | M WG
Range Unit | m/s | M/S
Range Unit | m3
Range Unit | m3/h | M3/H
Range Unit | mA | MA
Range Unit | mbar | MBAR
Range Unit | mg | MG
Range Unit | mg/l | MG/L
Range Unit | ml/d | ML/D
Range Unit | mm | MM
Range Unit | ohm | OHM
Range Unit | pF | PF
Range Unit | PPM
Range Unit | psi | PSI
Range Unit | TCMD | TCMD
Range Unit | uS/cm | US/CM
Set to Snort | NO | NO
Set to Snort | YES | YES