## PDT_Damper
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
General Data
Shape
Casing Length (mm)
ATEX Code
Volume Flow Rate Max (l/s)
Differential Pressure Max (Pa)
Release Temperature (deg C)
Upstream Velocity (m/s)
Number of Blades
Material
Dimension & Weight Data
Weight(kg) | Decimal | builtin | decimal-with-units | kg | 17.2 kg
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Flow Transmitter Data
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Performance Data (Continous Operation)
Output Signal Type
Output Type
Pipe Diameter (mm) | Int | builtin | integer-with-units | mm | 80mm
Pulse Cutoff
Pulse Factor
Pulse Max
Range Max | Decimal | builtin | decimal
Range Min | Decimal | builtin | decimal
Range Unit | String | enum
Rated Voltage | Decimal | builtin | decimal
Rated Voltage Units | String | builtin | voltage-units
IP Rating | String | builtin | ip-rating |  | IP68
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Field Validation Compatible
Sensor Calibration Factor 1
Sensor Calibration Factor 2
Sensor Calibration Factor 3
Sensor Calibration Factor 4
Specific Order Code
Transducer Model | String | builtin | any
Transducer Serial No | String | builtin | any
Transmitter Model | String | builtin | any
Transmitter Serial No | String | builtin | any

## PDT_Level Transmitter Data
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Electrical Data
Supply Voltage
Supply Voltage Units
Performance Data
Output Signal Type | String | enum
Output Type | String | enum
Pipe Diameter (mm) | Int | regex | integer-with-units | mm
Pulse Cutoff
Pulse Factor
Pulse Max
Range Max | Decimal | builtin | decimal
Range Min | Decimal | builtin | decimal
Range Unit | String | lookup | LSTN_RANGE_UNITS
Relay 1 Function
Relay 1 off Level (m)
Relay 1 on Level (m)
Relay 2 Function
Relay 2 off Level (m)
Relay 2 on Level (m)
Relay 3 Function
Relay 3 off Level (m)
Relay 3 on Level (m)
Relay 4 Function
Relay 4 off Level (m)
Relay 4 on Level (m)
Relay 5 Function
Relay 5 off Level (m)
Relay 5 on Level (m)
Relay 6 Function
Relay 6 off Level (m)
Relay 6 on Level (m)
Set to Snort | String | enum
Signal Guidance
IP Rating | String | builtin | ip-rating |  | IP68
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Field Validation Compatible
Sensor Calibration Factor 1
Sensor Calibration Factor 2
Sensor Calibration Factor 3
Sensor Calibration Factor 4
Specific Order Code | String | builtin | any
Transducer Model | String | builtin | any |  | XPS-15
Transducer Serial No | String | builtin | any |  | PBD/M8040353
Transmitter Model | String | builtin | any |  | SITRANS LUT 420
Transmitter Serial No | String | builtin | any |  | YSN/N1298219654
Float Guidance

## PDT_MotorControlCentre
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Dimension & Weight Data
Weight(kg) | Decimal | builtin | decimal-with-units | kg | 17.2 kg
Electrical Data
IP Rating | String | buitin | ip-rating |  | IP68
Fault Rating (kA) | Decimal | builtin | decimal-with-units | kA | 17.2 kA
Number of Phase | Int | builtin | integer
Number of Ways | Int | builtin | integer
Rated Current (A) | Decimal | builtin | decimal-with-units | A | 17.2 A
Rated Voltage | Decimal | builtin | decimal
Rated Voltage Units | String | builtin | voltage-units
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Single Line Drawing Ref Number | String | builtin | any

## PDT_Pressure Transmitter
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Control and Instrumentation Data
Range Max | Decimal | builtin | decimal
Range Min | Decimal | builtin | decimal
Range Unit | String | enum
Output Signal Type | String | enum
Dimension & Weight Data
Weight(kg) | Decimal | builtin | decimal-with-units | kg | 17.2 kg
Electrical Data
IP Rating | String | builtin | ip-rating |  | IP68
Supply Voltage | Decimal | builtin | decimal
Supply Voltage Units | String | enum
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Tank Data
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Construction Data
Column Material | String | enum
Floor Material | String | enum
Reservoir Covering | String | enum
Roof Material | String | enum
Tank Construction | String | enum
Tank Covering | String | enum
Tank Level | String | enum
Wall Material | String | enum
Dimensions & Weight Data
Bottom Water Level (mAOD)
Top Water Level (mAOD)
Tank Shape | String | enum
Capacity (m3) | Decimal | builtin | decimal-with-units | m3 | 50.4 m3
Diameter (mm) | Int | builtin | integer-with-units | mm | 800 mm
Side Depth (mm) | Int | builtin | integer-with-units | mm | 800 mm
Side Depth Max (mm) | Int | builtin | integer-with-units | mm | 800 mm
Side Depth Min (mm) | Int | builtin | integer-with-units | mm | 4000 mm
Top Surface Area (m2) | Decimal | builtin | decimal-with-units | m2 | 35.4 m2
Centre Depth (mm) | Int | builtin | integer-with-units | mm | 4000 mm
Length (mm) | Int | builtin | integer-with-units | mm | 4000 mm
Major Axis (mm)
Minor Axis (mm)
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Manufacturers Asset Life (yr)
Memo Line | String | builtin | any
Content Type | String | enum

## PDT_Valves
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Title
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer Website
Product Range
Product Model Number
CE Approval
Approvals
Product Literature
Features
Construction Data
Stem Type
Direction of closure
Plate Material
Stem Material
Stem Nut Material
Bolt Material
Top packing gland Material
Packing Material
Body Material
Gate Material
Gate seal Material
Washer Material
Stem bearing Material
Operating element
Packing gland scraper
Coating
Dimension Data
Overall Length
Overall Width
Overall Height
Gross Weight | Decimal | builtin | decimal-with-units | kg
Shipping Weight
Access Clearance Top
Access Clearance Bottom
Access Clearance Left
Access Clearance Right
Access Clearance Front
Access Clearance Rear
Flange Connection size
Flange connection type
Face to face dimension
Face to face standard
Performance Data
Pressure rating
Upper Limit Torque at max PN
Normal Operating Torque
Number of turns fully open to fully closed
Test Pressure
Upper Limit Operating Pressure
Upper Limit Temperature
Lower Limit Temperature
PED Category
Sustainability
Embodied Carbon
Life Cycle Analysis
Location of Manufacturer
Green Guide for Specification
Environmental Product Declaration
Responsible Sourcing of Materials
Energy Technology List
Responsible Extraction of Materials
Material Ingredient Reporting
Operations & Maintenance
O&M Manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke Timeframe
Maintenance Required 0-300hrs
Maintenance Required 301-600hrs
Maintenance Required 601-1000hrs
Maintenance Required 1001-2000hrs
Maintenance Required 2001-4000hrs
Maintenance Required 4001-8000hrs
Maintenance Required 8001-12000hrs
Expected Life
Warranty ID
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Set Range Max
Set Range Min
Set Range Unit
Bore Diameter (mm) | Int | builtin | integer-with-units | mm
Coil Voltage
Coil Voltage Units
Rated Current (A)
Rated Power (W)
STC25 Ref
Telemetered
Valve Timing (s)
Port Size Connection (mm)
Normal Operating Position
Process Medium | String | enum
Trace Heating
Cost
pH

## PDT_Analyser
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer Website
Product Range
Product Model Number
CE Approval
Approvals
Product Literature
Features
Sustainability
Embodied Carbon
Life Cycle Analysis
Location of Manufacturer
Green Guide for Specification
Environmental Product Declaration
Responsible Sourcing of Materials
Energy Technology List
Responsible Extraction of Materials
Material Ingredient Reporting
Operations & Maintenance
O&M Manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke Timeframe
Maintenance Required 0-300hrs
Maintenance Required 301-600hrs
Maintenance Required 601-1000hrs
Maintenance Required 1001-2000hrs
Maintenance Required 2001-4000hrs
Maintenance Required 4001-8000hrs
Maintenance Required 8001-12000hrs
Expected Life
Warranty ID
Construction Data
Sensor Body Material
Cable Length
Cable Type
Front Thread
Submergence Shield
Foam Faced
Dimensions
Overall Length
Overall Width
Overall Height
Gross Weight
Shipping Weight
Access Clearance Top
Access Clearance Bottom
Access Clearance Left
Access Clearance Right
Access Clearance Front
Access Clearance Rear
Face Diameter
Mounting Connection
Performance Data
Characteristic
Accuracy
Beam Angle
Frequency
Resolution
Maximum Separation
Upper Limit Measuring Range (NTU)
Lower Limit Measuring Range (NTU)
Upper Limit Temperature
Lower Limit Temperature
Temperature Compensation
Electrical Data
Power Supply Type
Power Supply Voltage
Power Supply Fuse Rating
Power Supply Phase
Power Supply Frequency
Number of Poles
Enclosure Rating
Intrinsically Safe
SIL Rating
Hygiene Approval
Relay Outputs
Relay Outputs - No of
Relay Outputs Type
Controls
Analogue Output
Analogue Outputs - No of:
Analogue Output Type
Digital Output
Display
On-board Programming
PC Programming
Programme Security
Programmed Data Integrity
Modem
Communication Protocol
Clock
Data Logging
Alarm Dial Out
Asset Data
Serial Number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Cost of unit | String | builtin | any
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Location in Asset Hierarchy | String | builtin | non-empty-string
Specific Model | String | builtin | any
Manufacturers Code | String | builtin | any
Calibrated Range of Instrument
Specific Order Code
Transducer Model
Transducer Serial No
Transmitter Model
Transmitter Serial No
Filter Particle Size (um)

## PDT_Kiosk
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Construction Data
Cat Flap Available
Material
Dimension & Weight Data
Base Height (mm) | Int | regex | integer-with-units | mm
Depth (mm) | Int | regex | integer-with-units | mm
Height (mm) | Int | regex | integer-with-units | mm
Width (mm) | Int | regex | integer-with-units | mm
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Motor Starter
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Dimension & Weight Data
Weight(kg)
Electrical Data
IP Rating
Input Current (A)
Input Voltage
Input Voltage Units
Mounting Type
Number of Phase
Number of Ways
Rated Current (A)
Rated Power (kW)
Rated Voltage
Rated Voltage Units
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Single Line Drawing Ref Number

## PDT_Pump
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Construction Data
Diaphragm Material
Base material
Body/casing material
Connection configuration
Flange type and designation
Head/seal housing material
Diffuser/stage casing material
Shroud/sleeve material
Diffuser/stage casing wear ring material (if applicable)
Impeller type
Impeller material
Direction of rotation (viewed from non-drive end)
Impeller wear ring material (if applicable)
Shaft material
Shaft sleeve material (if applicable)
Mechanical seal type
Seal details
Seal/seat material(s)
Bearing/bushing material
Pump and baseplate external coating specification
Dimension & Weight Data
Weight(kg)
Hose External Diameter (mm)
Hose Internal Diameter (mm)
Hose Length (mm)
Inlet Size (mm)
Outlet Size (mm)
Overall length
Overall width
Overall height
Shipping weight
Access clearance top
Access clearance bottom
Access clearance left
Access clearance right
Access clearance front
Access clearance rear
Electrical Data
Rated Power (kW)
Motor Type
Insulation Class (°c)
IP Rating
Performance Data (Continous Operation)
Installed Design Head (m)
Lubricant Type
Lubricant Volume (l)
Rated Pressure (bar)
Rated Speed (RPM)
Flow (l/s)
Head
NPSHR
Lower limit rotational speed
Upper limit rotational speed
Upper limit operating pressure
Maximum fluid temperature
Efficiency
Performance curve number
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Pumped medium
Static head at duty point
Dynamic head (pumping station) at duty point
Dynamic head (rising main) at duty point
Flow rate at duty point
Operating speed at duty point (or speed range, if appropriate)
Pump unit (i.e. including motor) capable of discharging into an empty main
NPSHA at duty point
NPSHR at duty point
Efficiency at duty point
Mode of operation

## PDT_Well
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Construction Data
Tank Construction
Dimension & Weight Data
Tank Shape
Capacity (m3)
Diameter (mm)
Side Depth (mm)
Side Depth Max (mm)
Side Depth Min (mm)
Top Surface Area (m2)
Centre Depth (mm)
Length (mm)
Major Axis (mm)
Minor Axis (mm)
Weight(kg)
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Actuator Data
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Electrical Data
ATEX Code
Number of Phase
Rated Current (A)
Rated Power (kW)
Rated Voltage
Rated Voltage Units
Insulation Class (°c)
IP Rating
Wiring Diagram Number
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_Switchgear
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Dimension & Weight Data
Weight(kg)
Electrical Data
Type of Works
Circuit Breaker Rating (A)
Cooling Type
Current Transformer Ratio
Duration of Operation (min)
Fault Rating (kA)
Input Current (A)
Input Voltage
Input Voltage Units
Manufacturing Tolerance
Number of Phase
Number of Poles
Protection Relay Type
Rated Current (A)
Rated Power (kW)
Rated Voltage
Rated Voltage Units
Resistance at 20 °c (Ohm)
Resistor Grid Material
System Voltage
System Voltage Units
Tallus Unit
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Single Line Drawing Ref Number

## PDT_Controller
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Instrumentation and Control Data
Instrument Power (W)
Range Max
Range Min
Range Unit
Rated Current (A)
Rated Power (kW)
Rated Voltage
Rated Voltage Units
Output Signal Type
Supply Voltage
Supply Voltage Units
IP Rating
PLC Remote Intervention
SIL Rating
Specific Order Code
Dimension & Weight Data
Weight(kg)
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)

## PDT_UPS
pdt_field_name | s4_type | evaluator_type | evaluator | builtin_arg1 | sample
Asset Name | String | builtin | non-empty-string |  | DMP OAC 01 01 Damper-1
Asset Type | String | builtin | asset-type
Asset Status | String | builtin | asset-status
Uniclass Code
Uniclass Description
Manufacturer Data
Manufacturer | String | builtin | manufacturer
Manufacturer website
Product range
Product model number
CE approval
Approvals
Product literature
Features
Sustainability
Embodied carbon
Life cycle analysis
Location of manufacturer
Green guide for specification
Environmental product declaration
Responsible sourcing of materials
Energy technology list
Responsible extraction of materials
Material ingredient reporting
Operations & Maintenance
O & M manual
Daily
Weekly
Monthly
Quarterly
6 Monthly
Annually
Bespoke timeframe
Maintenance required 0-300hrs
Maintenance required 301-600hrs
Maintenance required 601-1000hrs
Maintenance required 1001-2000hrs
Maintenance required 2001-4000hrs
Maintenance required 4001-8000hrs
Maintenance required 8001-12000hrs
Expected life
Warranty ID
Construction Data
Type
Stand Alone Assembly
Stand Alone Design Type
Construction type
Form of Separation
Material of Construction
Access
Coating
Finish
Colour
Grade
Accessibility performance
Standard
Features
Constituents
Asset Type
Dimension & Weight Data
Overall Length
Overall Width
Overall Height
Gross Weight
Shipping split Weights
Access Clearance Top
Access Clearance Bottom
Access Clearance Left
Access Clearance Right
Access Clearance Front
Access Clearance Rear
Section lifting method
Electrical Data
Rated Input Voltage (V)
Battery Type
Battery rating
Charger current
Recharge time
Inbuilt batteries
No. of batteries
Rated power (kvar)
Maintenance Bypass required
Efficiency
Operating temperature
Battery storage temperature
Supply Phase
Input power factor
Input frequency
Input frequency tolerance
Input current harmonic distortion
Output power factor
Output frequency
Output frequency tolerance
Number of Poles
Maximum permissible voltage
Continuous overcurrent capacity
Enclosure Rating
Utilization Category
Supply characteristics
Protection Device Rating
Protection Device Type
Indicative Field Cabling Size
Controls
UPS HMI device
Type of communications
Performance Data (Continous Operation)
Third Party Certification
Power metering section required
Current transformers
Phase monitoring
Surge protection
Upstream Protection Device Characteristics
Downstream Protection Devices Characteristics
Other Protection features
Interlocking Requirements
Common Control / Telemetry Signals required
Code performance
Asset Data
Manufacturer's serial number | String | builtin | non-empty-string
Date of installation | Date | builtin | local-date
Tag reference | String | builtin | any
Legacy GUID (Globally Unique Identifier) reference | String | builtin | any
Location in Asset Hierarchy | String | builtin | floc |  | ABB01-SSS-SFS-HSE-SYS02
Specific Model | String | builtin | non-empty-string
Location on Site | String | builtin | any
Memo Line | String | builtin | any
Manufacturers Asset Life (yr)
Cost of unit
UPS - Software version
UPS - Firmware version
UPS - Operating system
UPS - Application